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	PRODUCT  SPECIFICATION

	
	

	TAP334KBN-Kolt Bath Filler Brushed Nickel
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BAR CODE: 5055681461461
COLOUR:  Brushed Nickel
WEIGHT:
NET         2.13 kg (tap only)
GROSS     2.45 kg
	0 . 2 bar
	0 . 5 bar
	1 bar
	2  bar
	3  bar

	9.7 L
	17.3 L
	25.2L
	35.5L
	44.1 L


STANDARDS:  BS EN 200                                                        NOTES:                                                                                               SUITABLE FOR PRESSURES BETWEEN 0.5-10BAR                Flow Rate:

	
[image: ]BOX SIZE  240X160X187
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